## Slide 1: BIORESORBABLE SCAFFOLDS
Dr.Anjos

## Slide 2: BIORESORBABLE SCAFFOLDS

## Slide 3: BIORESORBABLE SCAFFOLDS
Metallic Stents Disadvantages
Restrict physiological vasomotion & adaptive arterial remodelling
Chronic foreign body reaction-inflammation.
Impair placing bypass grafts
Neoatherosclerosis-late stent thrombosis
Permanent side branch jailing
Opaque to CT/MRI
Characteristics of Optimal BRS
Short term scaffolding
Radial strength to avoid recoil
Biocompatable
Absorb completely
Deliverable and flexible
“SCAFFOLDING IN SHORT TERM& DISAPPEAR LONGTERM”

## Slide 4: MATERIALS USED FOR BRS
Bioabsorbable polymers
Polylactic acid
Polyglycolic acid
Polycaprolactone
Tyrosine derived polycarbonates
Corrodable metal based alloys
Magnesium alloy
Iron alloy

## Slide 5: Evolution of BRS
Igaki Tamai
PLLA
Self expanding
Followup(n=50) @ 3 y
TLR-28%,1 cardiac death,4 MI
ABSORB Bioresorbable Scaffold
PLLA backbone+coated with PDLLA
Abbot Vascular

## Slide 6: Clinical Trials of Absorb BRS
ABSORB A
N=30
2 year MACE incidence (3.4%)
Noninferior to DES
ABSORB B
MACE(7% at 12 months & 11% at 3 yrs)

## Slide 7: Clinical Trials of Absorb BRS
ABSORB II
RCT(n=508)
ABSORB BVS v/s Xience
Scaffold Thrombosis
(2.8% v/s 0% p=0.03@3 y)
ABSORB III
RCT
N=2008
End point=TLF,target vessel MI
1year-noninferior(7.8 v/s 6.1 p=0.007)
2y=11v/s 7.9(p=.03)
Overall device thrombosis high in BVS

## Slide 8: Clinical Trials of Absorb BRS
AIDA
N=1845
2y high rate of Scaffold thrombosis(3.5 v/s 0.9 ,p<0.0001)
Different METAANALYSIS
N=5580
Higher 2 year relative risk for device related adverse end points

## Slide 9: Lessons from ABSORB trials-reasons for suboptimal perfomance
Device related
Thicker strut-hinder endothelisation
Struts protruding to lumen-promote thrombosis
Dismantling phenomenon
Loss of structural integrity during resorbtion-resemble stent fracture-increases inflammation&structural deformation-late ScT
Patient related
DM,CKD,Low EF,smokers,age
ACS-high thrombotic burden,vasoconstriction-inappropriate sizing
DAPT discontinuation
DAPT(ticagrelor /prasugrel *30 days)
Followed by clopidogrel

## Slide 10: Lessons from ABSORB trials-reasons for suboptimal perfomance
Lesion related
Vessel size-below 2.25 mm
Bifurcation lesion
Ostial lesion
Longer lesion
Calcified lesion
Procedure related
Predlation->/=1:1 reference vessel diameter NC ballon
Sizing
Postdilation-NC ballon,16-25 atm sized upto 0.5mm nominal vessel diameter

## Slide 11: Other BRS
 | DESolve | ART PURE | FANTOM | MeRes 100 | Magmaris
STRUT MATERIAL | PLLA | PDLLA | TYROSINE POLYCARBONATE | PLLA | Mg
DRUG | Novolimus | None | Sirolimus | Sirolimus | Sirolimus
THICKNESS |  | 170 mcm(thickest) |  | Thinnest(100 mcm) | 
RESORPTION TIME | 2y | 2y | 3 y | 2y | 1 year

## Slide 12: Bioresorbable Metal Scaffolds
Magmaris
Magnesium alloy coated with PLLA ,tantalum radioopaque marker at both ends.
95% resobtion in first year.
Mghydroxide ->Mgphosphate->calcium phosphate(Mg removed by diffusion)
MAGSTEMI- magmaris v/s DES –magmaris worse performance

## Slide 13: Bioresorbable Metal Scaffolds
Iron Alloy based scaffolds
Slow degradation rate
Involve oxidation of ferrous to ferric iron
Interfere with MRI
Special storage conditions

## Slide 14: Conclusion
2 decades ago concerns were raised regarding efficacy of metallic DES,it has evolved over multiple generations to reach current efficacy.
More RCTs are needed to determine whether theoretial advantage of BRS offset its limitations.

## Slide 15
MYOCARDIAL BRIDGE

## Slide 16: MYOCARDIAL BRIDGE
Tunneling of epicardial coronary under myocardium.
Prevalence-0.5-16%
Common-mid segment of LAD

## Slide 17: Classification of myocardial bridge
Superficial variant-involve LAD in groove between ventricle
Deep variant-seeps in between intraventricular septum

## Slide 18: Clinical presentation
Asymptomatic /benign
Chestpain or SOB mimicking ACS
Arrythmia
Diastolic dysfunction,coronary vasospasm or ventricular hypertrophy –symptoms in previously asymptomatic

## Slide 19: Pathophysiology
Increased atherosclerosis
Variant wall shear stress in pre and post bridge portion-increased VCAM1 and ROS-proatherogenic environment.
Sometimes poor coronary perfusion due to bridging extending to diastole.

## Slide 20: Diagnosis
1.CAG
Milking effect-systolic narrowing.
2.CTCA
3.IVUS
Halfmoon sign-echo lucent area
4. Diastolic FFR
Asses pathophysiology of bridging

## Slide 21: Special consideration in athletes
Autopsy and CCTA suggest increased prevalence of myocardial bridge
Hypertension &LVH pecpitate symptoms
Hence many become symptomatic later in life

## Slide 22: Schwartz classification of myocardial bridge&Management
A- only symptoms ,no signs of ischemia
B-Signs of ischemia on non invasive stress test
C-signs of ischemia with altered intracoronary hemodynamics
A-No treatment
B-Medical
C-Medical if still symptomatic revascularisation

## Slide 23: Medical management
Betablockers
CCB
Nitrates –contraindicated
Dilated adjacent nonbridged vessel and worsen compression
Antiplatelet
Statins

## Slide 24: PCI in myocardial bridge
Increased chance of perforation,stent thrombosis,fracture
Not widely used.
Conclusion from studies
1.Symptomatic patients undergoing PCI has high rate of ISR
2.DES have better result compared to BMS
Absence of RCTs
Medical therapy better than PCI

## Slide 25: Surgical therapy
CABG
Surgical therapy better than PCI
Done only if symptomatic despite OMT
CABG preffered if bridge
deep(>5mm)
long (>25 mm)
Failed myotomy
Myotomy
Muscle fibres overlying bridge resected.
No RCTS comparing both.

## Slide 26: Noncardiac Surgery in Patients with Heart Disease
Exercise tolerance is one of the strongest determinants of perioperative risk and the need for invasive monitoring.
Several scales based on activities of daily living have been proposed to assess exercise tolerance current guidelines advocate the Duke Activity Scale Index

## Slide 27: Risk stratification of procedures

## Slide 28: Cardiac condition for which patient should undergo cardiac evaluation and treatment

## Slide 30: Risk Calculators
RCRI(Revised Cardiac Risk Index)
1.high-risk type of surgery
2. history of ischemic heart disease
3 history of congestive HF
4 history of cerebrovascular disease
5 preoperative treatment with insulin
6. preoperative serum creatinine concentration greater than 2.0 mg/ dL
0/1-low,2-intermediate,3/more-high
ACS-NSQIP
type of surgery,
dependent functional status,
abnormal creatinine level,
American Society of Anesthesiologists class
age.

## Slide 32: Surgery in patients post PCI

## Slide 33: Proteomics and Metabolomics in Cardiovascular Medicine
Proteomics aims to catalogue the entire protein products of the human genome.
Metabolomics attempts to systemically capture smaller biochemical compounds, including simple amino acids and related amines, as well as lipids, sugars, nucleotides, and other intermediary metabolites.(<2kDa size)
“Snapshots” of the state of a cell or organism.
Identify novel biomarkers
Provide information on biology and highlight potential therapeutic target.

## Slide 34
Environment and microflora contribute to metabolome.

## Slide 35: Classification
Nontargeted-identify all the metabolites in a sample.
Targeted-only specific metabolites identified

## Slide 36: Tools of proteomics and metabolomics
1.Nuclear magnetic Resonance
1H,13C,15N,31P based
2.Mass spectrometry
Based on mass to charge ratio(m/z )
-Gas chromatography based
-Liquid chromatography based

## Slide 37: Application in Cardiovascular Diseases
Heart failure
Healthy heart-mitochondrial fatty acid oxidation
Pathological hypertrophy –glucose metabolism.
HF ACTION trial-circulating level of long chain acylcarnitine as independent predictor of mortality and functional status in cnronic heart failure
Myocardial Ischemia & Infarction
Tissue succinate levels regulate production of reactive oxygen species in reperfusion
Modulation of succinate metabolism is considered as option to reduce ischema reperfusion injury.

## Slide 38
Indian BRS
1.Me Res 100
2.Magmaris
3.DESOLVE
4.FANTOM

## Slide 39
Choose the odd one out
1.ABSORB
2.DESOLVE
3.FANTOM
4.ME RES

## Slide 40
Halfmoon sign seen in
1.CAG
2.CCTA
3.IVUS
4.FFR

## Slide 41
Which of the following is a low risk surgical procedure(AHA guidelines 2016)
1.Thyroidectomy
2.TURP
3.Mastectomy
4.THR

## Slide 42
Metabolomics attempt to catalogue molecules below
1.5 Da
2.5 kDa
3.2 Da
4.2 kDa