## Slide 1: ANGIOGRAPHIC VIEWS
Karthik K S

## Slide 2
INTRODUCTION
→Term ‘Angiography’ is derived from
•Angeion – vessel
•Graphy – record
→Angiography or arteriography is the technique for diagnosing or healing of atherosclerosis.
→2 important procedures •Catheter angiogram
•Angioplasty
→Coronary angiography was first performed by American physician Mason Sones in 1959.

## Slide 3
RADIOGRAPHIC PROJECTIONS
a) Transverse plane – Referred to as degrees left or right anterior oblique.
b) Sagittal plane – Degrees cranial or caudal, by the position of imaging detector(II), not
the x-ray tube.
c) Coronal plane - Any vertical plane which divides the body into ventral and dorsal.

## Slide 4
ANGIOGRAPHIC VIEWS
→Angulations are of 2 types:1) Rotation
2) Skew
→Rotation – RAO &LAO
→Skew – Cranial & caudal
→In oblique projections, shadow of spine will be opposite of the used position.
→ In cranial projection, diaphragm dome is prominent.

## Slide 5
Indications/Used in;
→ Femoral puncture, coronaries – profiling lesions
→ Grafts
→ LV, RV, aorta, pulmonary artery angio
→ ASD, VSD, PDA closures
→ Prosthetic valve

## Slide 6
Coronaries – Cannulations and profiling lesions
*LMCA cannulation – AP or LAO
*RCA cannulation – LAO or Lateral
*Anomalous – Customized view

## Slide 7
TERMINOLOGY
Right Anterior Oblique (RAO)
Image intensifier(II) is angled above the right side of the
patient’s chest, visualising the heart from the right side.
Left Anterior Oblique (LAO)
II is angled above the left side of the patient’s chest,
visualising the heart from the left side.

## Slide 8
Posterior Anterior (PA)
II is angled directly above patient’s mid chest,
visualising heart from front to back.
Lateral
II is angled 90° from patient’s mid line,
visualising heart from far left side.

## Slide 9
Cranial
II is angled towards the patient’s head,
visualizing the heart from above.
Caudal
• II is angled towards the patient’s feet,
visualising heart from below.
• Optimise visualization of LCX and OM ;
tend to foreshorten LAD and elongate LCX.

## Slide 10
Profiling Left Coronary
Common views used :
LAO Caudal, RAO Caudal, PA Cranial, PA Caudal,RAO Cranial, LAO Cranial, Left Lateral
Left Anterior Oblique Caudal (LAO Caudal) { LAO – 30°to 50° }
• Also known as spider view { Caudal - 30°to 40° }
• Visualise left main trunk, bifurcation /trifurcation in
to LAD, LCX and Ramus intermidus.
• LAD is foreshortened
• Poor image quality may be caused by overlap of the
diaphragm and spine.
• More angulation is needed in patients with vertically
displaced heart.
• RV, LV and LA chambers are seen.

## Slide 11
Right Anterior Oblique Caudal(RAO Caudal )
{ RAO – 10° to 20° }
• Better visualisation of LCX { Caudal – 15° to 20° }
• Visualise left main bifurcation /trifurcation, proximal LAD, proximal-mid LCX and OM.
• LA, RV, LV chambers are seen.

## Slide 12
Shallow RAO Cranial
{ RAO - 0°to 10° }
• Visualise ; { Cranial – 25°to 40°}
* Mid and distal LAD with origin of septals and diagonals.
* Mid and distal LCX and OM

## Slide 13
LAO Cranial
{ LAO - 30°to 60° }
• Visualise ; { Cranial – 15° to 30°}
* LPDA(left dominant )
* Ostium of LM, LAD with diagonal and septal
separation.
* Left to right collaterals
• RV, LV & LA chambers are seen.

## Slide 14
Posterior Anterior (PA)
• Best for visualising ostium of the left main.
PA Cranial
{ Cranial – 30°}
• Visualise LAD with septals towards right and
diagonals towards left, helping in wire placement.
• RV, LV & LA chambers are seen.

## Slide 15
PA Caudal
{ Caudal – 20° to 30° }
• Visualise ;
* LMCA in entire length
* Proximal LAD
* Proximal to Mid LCX
• LA, RV & LV chambers are seen.

## Slide 16
Left Lateral
• Visualise ;
* Mid and distal LAD
* LCX

## Slide 17
Profiling Right Coronary
• Common views used ;
* LAO (30°)
* RAO (30°)
* PA Cranial (cranial - 30°)
* LAO Cranial
Left Anterior Oblique (30°)
• Visualise ostio-proximal and distal RCA well.

## Slide 18
Right Anterior Oblique (30°)
•Visualise Mid RCA and RPDA.
Posterior Anterior Cranial(PA Cranial)
• Visualise ;
* Distal RCA bifurcation, PDA & PLB.

## Slide 19
LAO Cranial
•Visualise ;
*mid and distal RCA
*PDA & PLB
*Collateral filling

## Slide 21
MCQS
1) Who performed first coronary angiography?
a) Werner Forssmann b) Mason Sones
c) Edward Jenner c) Inge Edler

## Slide 22
2) In which among the following II will be 90° from the patient’s midline?
a) RAO b) PA
c) Lateral d) Cranial

## Slide 23
3) __________ is also known as spider view?
a) LAO Cranial b) LAO Caudal
c) RAO Caudal d) LAO

## Slide 24: THANK YOU